## SETTING
## SETTING
## RECLOSEROPTIMISATION: K_number and K_power, default=1
Recloser_number | K_number | K_power
1 | 1 | 1
## BRANCHING
RateMax[%] | Umax[pu] | Umin[pu] | cosPhiP | cosPhiN
100,1e3 | 1.1,1e4 | 0.9,1e4 | 0.85,1e4 | -0.95,1e4
## POWERFLOW
Algo_PF | option_PSM | option_GS | option_NR
PSM | 50,1e-5 | 50,1e-5 | 50,1e-5
Note on A6: Value,penality
Note on C6: Value,penality
Note on D6: Value,penality
Note on E6: Value,penality
Note on A10: Comment: PSM, GS,NR,...
Note on B10: PSM (maxIteration,Epsilon)
Note on C10: GS(maxIteration,Epsilon)
Note on D10: NR(maxIteration,Epsilon)

## BUS
## BUSDATA
NO | NAME | kV | FLAG | PLOAD[kw] | QLOAD[kvar] | Qshunt[kvar] | FLAG3 | Vscheduled[pu] | QgenMax[kvar] | QgenMin[kvar] | CODE | xCoord | yCoord
1 | BUS1 | 12 | 1 | 0 | 0 | 0 | 0 | 1 | 9999 | -9999 | 3 | 1 | 0
2 | BUS2 | 12 | 1 | 200 | 100 | 0 | 0 |  |  |  |  | 2 | 0
3 | BUS3 | 12 | 1 | 200 | 100 | 0 | 0 |  |  |  |  | 3 | 0
4 | BUS4 | 12 | 1 | 200 | 100 | 0 | 0 |  |  |  |  | 4 | 0
5 | BUS5 | 12 | 1 | 200 | 100 | 0 | 0 |  |  |  |  | 5 | 0
6 | BUS6 | 12 | 1 | 800 | 800 | 500 | 1 |  |  |  |  | 6 | 0
7 | BUS7 | 12 | 1 | 150 | 100 | 0 | 0 |  |  |  |  | 2 | -1
8 | BUS8 | 12 | 1 | 200 | 100 | -200 | 1 |  |  |  |  | 2 | -2
9 | BUS9 | 12 | 1 | 150 | 200 | 0 | 0 |  |  |  |  | 4 | -1
10 | BUS10 | 12 | 1 | 150 | 100 | 0 | 0 |  |  |  |  | 4 | -2
11 | BUS11 | 12 | 1 | 200 | 100 | 0 | 0 |  |  |  |  | 5 | -1
12 | BUS12 | 12 | 1 | 0 | 0 | 0 | 0 |  |  |  |  | 4 | -3
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số nút (duy nhất)
Note on B2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Tên nút
Note on C2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Điện áp định mức nút
Note on D2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1-Inservice; 0- Out of service
Note on E2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất tác dụng của phụ tải
Note on F2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Công suất phản kháng của phụ tải
Note on G2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: >0: capacitive; <0 reactive
Note on H2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1: Shunt có thể đóng/mở (branching)
Note on I2: Điện áp đặt tại cho Bus nguồn >0
Note on J2: Công suất Q cực đại (của Bus nguồn)
Note on K2: Công suất Q cực tiểu (của Bus nguồn)
Note on L2: Loại BUS, 1/None- bus Tải, 2- bus PV, 3-bus SWING
Note on M2: tọa độ x plot
Note on N2: tọa độ y plot

## LINE
## LINEDATA |  | 14.4 |  |  |  |  | 0.21 | 0.41
NO | FROMBUS | TOBUS | CID | FLAG | FLAG3 | LENGTH | R(Ohm) | X(Ohm) | B(microSiemens) | RATEA[A] | xCoord | yCoord
1 | 2 | 1 | 1 | 1 | 0 | 3 | 0.63 | 1.23 | 0 | 300
2 | 3 | 2 | 1 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 200
3 | 4 | 3 | 1 | 1 | 1 | 3 | 0.63 | 1.23 | 0 | 300
4 | 4 | 5 | 1 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
5 | 5 | 6 | 1 | 1 | 1 | 2.5 | 0.525 | 1.025 | 0 | 300
6 | 2 | 7 | 1 | 1 | 1 | 3 | 0.63 | 1.23 | 0 | 300
7 | 7 | 8 | 1 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
8 | 9 | 4 | 1 | 1 | 1 | 2.5 | 0.525 | 1.025 | 500 | 300
9 | 10 | 9 | 1 | 1 | 1 | 2.5 | 0.525 | 1.025 | 500 | 300
10 | 12 | 10 | 1 | 1 | 1 | 3.5 | 0.735 | 1.435 | 700 | 300
11 | 11 | 5 | 1 | 1 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
12 | 7 | 9 | 1 | 0 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
13 | 9 | 11 | 1 | 0 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
14 | 8 | 10 | 1 | 0 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300
15 | 11 | 12 | 1 | 0 | 1 | 3.5 | 0.735 | 1.435 | 0 | 300 | 5 | -3
Note on A2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Số thứ tự Line, duy nhất >1000
Note on E2: 1-Inservice; 0- Out of service; dùng để lưu trữ dự liệu thô
Note on F2: 1: có thể đóng/mở (branching)
Note on G2: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Length of Line (km)
Note on L2: tọa độ x plot cho các điểm rẽ
Note on M2: tọa độ y plot cho các điểm rẽ

## LOADPROFILE
## LOAD_PROFILE_DATA
time\NOBUS | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
2 | 1 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65
3 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
4 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5
5 | 1 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52 | 0.52
6 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6
7 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
8 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
9 | 1 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86 | 0.86
10 | 1 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88 | 0.88
11 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
12 | 1 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92 | 0.92
13 | 1 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94
14 | 1 | 0.96 | 0.96 | 0.96 | 0.96 | 1 | 1 | 1 | 1 | 1 | 1 | 1
15 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
16 | 1 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96 | 0.96
17 | 1 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94 | 0.94
18 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
19 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
20 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9
21 | 1 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85 | 0.85
22 | 1 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84 | 0.84
23 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8
24 | 1 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76 | 0.76
Note on A2: Số nút của tải

## GENPROFILE
## GEN_PROFILE_DATA
time\NOBUS | 1
1 | 1
2 | 1.02
3 | 1.03
4 | 1.04
5 | 1.03
6 | 1.03
7 | 1.02
8 | 1.01
9 | 1.01
10 | 1
11 | 1
12 | 1
13 | 1
14 | 1
15 | 1
16 | 1
17 | 1
18 | 1
19 | 1.01
20 | 1.01
21 | 1.01
22 | 1.01
23 | 1.02
24 | 1.02
Note on A2: Số nút của nguồn
Note on B2: điện áp tại nút nguồn (1) theo thời gian